CITY OF TOLEDO

DEPARTMENT OF PUBLIC UTILITIES

DIVISION OF ENVIRONMENTAL SERVICES

INSTRUCTIONS

BASELINE MONITORING REPORT

City of Toledo

Division of Environmental Services

Quilter Environmental Center

348 S Erie Street

Toledo, Ohio 43604

(419) 936-3015

Revised   8/2/2017

CITY OF TOLEDO

DEPARTMENT OF PUBLIC UTILITIES

DIVISION OF ENVIRONMENTAL SERVICES

Instructions for Completing Baseline Monitoring Report

GENERAL INSTRUCTIONS

This instruction packet is provided to help answer questions and offer examples as you complete the Baseline Monitoring Report (BMR).   The instructions correspond with each section and item number within the BMR.  Be sure that all requested information in Sections A through J is completed.  If additional space is required to complete a particular item, attach additional sheets which show the section and item number and indicate on the BMR “CONTINUED ON ADDITIONAL SHEET” in the appropriate blank.  If you have any questions about a particular item, please call the Division of Environmental Services Pretreatment Section at (419) 936-3015.

This reporting form is required each permit cycle of area industries classified as “Wet Industries” and identified as Industrial Users discharging non-domestic wastes to the Publicly Owned Treatment Works (POTW) of the City of Toledo.  Please complete and return the enclosed reporting form within ninety (90) days of receipt.  The Toledo Municipal Code (TMC) Section 930.14(a) requires Industrial Users to file the requested information with the Department of Public Utilities.  Failure to file a BMR is a violation, which carries penalties as outlined in TMC 925.

Upon completing the BMR, please return it to the address below and retain a copy for your files.

Mail to:	City of Toledo

Division of Environmental Services

Pretreatment Section

348 S. Erie Street

Toledo, OH 43604

SECTION A - GENERAL INFORMATION

2.	Company Name: This should be the name used for official transactions or as it appears on your company’s stationary.

3.	Mailing Address: Address where all correspondence pertaining to the BMR or other City of Toledo business should be sent.

4.	Facility Address: Address of the plant or building where the industrial discharge to the sewer system occurs.  A separate reporting form is required for each facility.  If more reporting forms are needed, please request additional copies.

5.	Name, Title and Phone number of the person who completed the form.

6.	Name, Title and Phone number (if different from 4) of the person to contact regarding information contained in the BMR.

SECTION B- PRODUCT OR SERVICE INFORMATION

1.	Describe the primary operations at your facility to provide a general idea of the manufacturing or service activities.  For example, if dairy products are manufactured, the primary operations might be receiving milk, bottling milk, condensing milk, ice cream manufacturing, cheese making, and butter making.  Also, provide the Standard Industrial Classification (SIC) Code or the North American Industry Classification System (NAICS) Code.  The SIC Code will determine if your facility is regulated under federal pretreatment regulations.  The SIC Code can be found online at http://www.osha.gov/pls/imis/sic_manual.html or in hard copy in the Social Science Department of the Main Branch, Toledo-Lucas County Public Library and at the Division of Environmental Services.  The SIC Code should be a 4-digit number which best describes the product or service provided.  If you only know your 6-digit NAICS Code, enter it here, and the Division of Environmental Services will make the conversion.

2.	List the principal products produced by your manufacturing operations.  Include both average and maximum daily rates of production.  Include any by-products which can be used or sold, if applicable. If your business performs a service rather than producing a product, describe the service.

3.	List the principal raw materials used in producing your products.  Include both average and maximum daily usage of raw materials.

SECTION C - SITE AND FLOOR PLAN

Provide a general site and floor plan of your facility as indicated.  Include the location of the building with respect to streets, alleys, etc. and indicate north with an arrow.  The floor plan portion of the drawing should depict areas within your plant that house different activities such as process, storage, and office areas.  The process areas should be more detailed to identify process types.  If your plant is multi-level, a plan for each floor is required.  Each building sewer should be shown, and the discharge connection, identified (sanitary sewer, direct discharge outlet, etc.).  Assign each sanitary sewer a number (most facilities will probably only have one sewer), and indicate where individual processes can be sampled and where wastewater samples can be collected.   A sample plan is attached as Appendix A.

SECTION D - FACILITY OPERATIONAL CHARACTERISTICS

1.	Some facilities close for maintenance, repair, inventory, and product or process changes.  Indicate when these shut-downs occur and the duration for your facility.

2.	During the summer months, a plant may make antifreeze for sale during the fall and winter.  During winter months, the same plant could manufacture charcoal lighter fluid.  Such an operation would be considered seasonal.  If your plant has seasonal variations in manufacturing processes, itemize the products and the months of production for each product.

3.	Self-explanatory.

4.	Self-explanatory.

5.	Consider each shift on the basis of its normal starting time with three shifts possible per 24-hour period.  Only the periods of production or process operation, including cleanup procedures, are to be considered shift work.  The number of employees per shift should include those office workers, executives and security personnel whose hours generally coincide with the times of production shifts.  Add the number of employees for each shift.  Also, add all shifts to obtain the total number of employees.

SECTION E - WATER USE INFORMATION

1.	Water usage in industry varies depending on the type of manufacturing activity, age of the plant, process equipment utilized, and other characteristics. Check off the appropriate box(es) for each type of listed use and discharge at your facility and provide an estimate for each in gallons per day (GPD).

2.	Provide your plant’s average daily use of City water, based on the last complete calendar year’s consumption.  To obtain the daily average flow in gallons per day (GPD), divide the product of your total year’s usage in cubic feet and 7.48 gallons per cubic foot by the your total days of operation for the year:

Average GPD = [Total year’s usage (ft3) X 7.48 (g/ft3)]  ÷  Total days of operation for year

3.	If another source (well, river water, etc.) is utilized totally or in part, list the source and usage in gallons per day (GPD).

4.	Some processes have variable usage.  Indicate periods of maximum use.

Example: 8:00 a.m. - 10:00 a.m., 1:00 p.m. - 3:00 p.m.

5.	If chemical corrosion or bacterial growth inhibitors are used in boilers, cooling towers, etc., at your facility, provide a list of these chemicals.

6.	Any equipment or process used to prepare raw water received at your plant for the process application, cooling, boiler makeup, or other use should be indicated.  Examples are filters, ion exchange units, and coagulation and precipitation units.  Indicate how the residue(s) from any treatment process is disposed.

SECTION F - WASTEWATER INFORMATION

1.	Indicate how your sewage bill is calculated.  If sewage is metered, provide manufacturer of the sewer meter and its method of operation.

2.	Indicate if sanitary wastes are combined with process wastes prior to discharge to the sanitary sewer.

3.	Identify any other methods of disposal (liquid waste haulers, natural water course, etc.) used.  If a National Pollutant Discharge Elimination System (NPDES) Permit was issued to your facility for direct discharge to a stream, river, or lake, list the permit number.

4.	40 CFR 403 (12)(b)(2) of the General Pretreatment Regulations states that the user shall submit a list of any environmental control permits held by or for the facility (i.e. air permit for boiler).

5.	For each process listed, a SIC Code must be provided.  The SIC Code may be different from the primary SIC Code given in Section B, Number 1.  For example, a tool manufacturer who electroplates has a primary activity of tool manufacturing (SIC Code 3423).  However, since electroplating is being performed, a secondary SIC Code of 3471 should also be listed.

6.	Describe the nature of the wastewater (metals, acids, oils, high solids, etc.) for each process identified in #5 and the sewer number identified in Section C.  Indicate if the discharge is continuous or batch and provide average and maximum daily discharge in gallons per day (GPD).

SECTION G - PRETREATMENT

1.	The information provided should include any equipment or process that your facility uses to remove or reduce solids, grease, dissolved or other materials from the wastewater prior to discharge to the sewer system.  Examples are oil/water separators, filters, or settling tanks.

2.	If a residue is generated from your wastewater pretreatment process, indicate if and how it is treated prior to disposal.

3.	List the amount of residue actually disposed and the frequency of disposal (i.e. 3 yds3/day).  Information on the method of disposal is required.  If the residue is hauled away by a commercial hauler, list the hauler’s name and address.

4.	USEPA has issued hazardous waste regulations under the Resource Conservation and Recovery Act (40 CFR 260-265).  Sludges or residues resulting from wastewater pretreatment will be considered hazardous waste if the residue meets any of the characteristically hazardous criteria or if it is listed as a hazardous waste.

5.	The information provided should include any equipment or process used to remove or reduce air pollutants (particulates, SO2, etc.) at your facility as well as method(s) of treatment and disposal.

SECTION H - CHEMICAL USE INFORMATION

1.	Many facilities use, produce, or store chemicals in bulk quantities.  List the chemicals, which are used, stored, produced, distributed, or otherwise handled and are routinely stored in bulk at your facility.   Indicate the amounts normally stored.  List any fuels or oils stored at your site.  You do not need to include any inventory of chemicals used for laboratory or research work.

2.	Describe any Spill Prevention, Control, and Countermeasures (SPCC) Plan or accidental discharge/slug discharge control plan required by your Discharge Orders presently in effect for your facility or submit a copy of the same.  Containment walls or cells with drainage control are examples of spill control measures.

SECTION I - WASTEWATER DISCHARGE CHARACTERISTICS

1.	Table 1 is a general listing of industrial wastes typically discharged to municipal wastewater treatment systems.  Check the box or boxes, which most appropriately characterize your facility’s discharge.  A review of your process(es) or service activity should indicate your source(s) and the nature of liquid streams.

2.	The list of substances in Table 2 has been prepared by USEPA to comply with the requirements of the 1976 Consent Decree in the case, NRDC v. Train, ERC 2120 (D.D.C. 1976).  Some of the organic compounds in this list are known by other names.  Appendix B lists, in alphabetical order, those compounds indicated by an asterisk (*), which have synonymous names.  To obtain the required information for this section, a review of substances or materials used in or generated by your facility is necessary. Check off whether or not each compound is used and whether or not it is discharged in your wastewater.  If it is discharged, indicate if the discharge is intermittent or continuous.

Any substances listed in Table 2, which are checked as being discharged shall be re-listed in the section entitled Priority Pollutants from Table 2 and included as a parameter in the wastewater analysis.  If intermittently discharged, sampling should be performed during a discharge period.  The average concentration of each parameter should be listed under TEST RESULTS in this section.

3.	Sampling and analysis shall be performed in accordance with procedures established by the USEPA and contained in 40 CFR 136, as amended.  A copy of the laboratory analysis should be included with this report in addition to the completion of Table 3.  If your facility is not in compliance with any of the Toledo Discharge Standards listed in Table 3, a Compliance Time Schedule will need to be prepared and returned with the BMR.

Please Note:

Three parameters, Xylene, Selenium and Total Chromium, have been added to the sampling requirements for the BMR.  Xylene has been added because the parameter is not included in the Total Toxic Organics (TTO) panel, but the Toledo Municipal Code (TMC) Chapter 930 - Sewer Discharge Control has a Local Limit Standard for Xylene.  Selenium and Total Chromium have been added because the Bay View Water Reclamation Plant’s NPDES Permit 2PF00000*ND has Industrial Loadings for these parameters.  Except when requested or when analytical results warrant it, there is currently no plan to add these parameters to the Discharge Orders for Significant Industrial Users.

SECTION J - SIGNATURES

Self-explanatory.

- HAZARDOUS WASTE NOTIFICATION -

When submitting a Baseline Monitoring Report to the City of Toledo for a new or previously unregulated process or service, please be advised that your facility may be subject to solid or hazardous waste management requirements pursuant to the Federal Resource Conservation and Recovery Act and State of Ohio hazardous waste management regulations.

To ensure that your operations comply with Federal, State and local hazardous waste management regulations, please contact the Ohio Environmental Protection Agency, Division of Materials and Waste Management, Northwest District Office, 347 Dunbridge Rd., P. O. Box 466, Bowling Green, Ohio, 43402-0466 (419) 352-8461 to determine any specific requirements that apply to your operations.

Sincerely,

Jeanette Ball						Lynn Pedro

Jeanette Ball							Lynn Pedro

Administrator 						Pretreatment Coordinator

APPENDIX A

SAMPLE SITE AND FLOOR PLAN

APPENDIX B

PRIORITY POLLUTANT SYNONYMS

| Item | Chemical Compound | Synonym | Item | Chemical Compound | Synonym |
| --- | --- | --- | --- | --- | --- |
| 1 | Asbestos | Actinolite, Amosite, Antophyllite, Chrysotile, Crocidolite, Tremolite | 13 | Silver | Argentum |
| 2 | Cyanide | Hydrogen Cyanide, Potassium Cyanide, Sodium Cyanide | 14 | Thallium | - - - |
| 3 | Antimony | Stibium | 15 | Zinc | - - - |
| 4 | Arsenic | Arsenia | 16 | Acenapthene | 1,2-Dihydroacenoaphthylene; periethylenenaphthalene; 1,8-ethylenenaphthalene |
| 5 | Beryllium | Glucinium | 17 | Acenaphthylene | - - - |
| 6 | Cadmium | - - - | 18 | Acrolein | 2-Propenal; Propenal; allyl aldehyde; acraldehyde; acrylaldehyde; acrylic aldehyde; Aqualin |
| 7 | Chromium | - - - | 19 | Acrylonitrile | 2-Propenenitrile; Propenenitrile; vinyl cyanide; cyanoethylene; Acritet; Fumigrain; Ventox; acrylonitrile monomer |
| 8 | Copper | - - - | 20 | Aldrin | 1,2,3,4,10,10-Hexachloro-1,4,4a,5,8,8a-hexahydro-1,4:5,8-dimethanonaphthalene; HHDN; compd 118; Octalene |
| 9 | Lead | Plumbum | 21 | Anthracene | - - - |
| 10 | Mercury | Hydrargyrum; Liquid Silver, Quick Silver | 22 | Benzene | Benzol; cyclohexatriene; phenyl hydride |
| 11 | Nickel | - - - | 23 | Benzidine | 4,4’-Bianiline; 4,4’-Biphenyldiamine; 1,1’-Biphenyl-4,4’-diamine; 4,4’-Diaminobiphenyl; p-Diaminodiphenyl |
| 12 | Selenium | - - - |  |  |  |

| Item | Chemical Compound | Synonym | Item | Chemical Compound | Synonym |
| --- | --- | --- | --- | --- | --- |
| 24 | Benzo-(a)-anthracene | 1,2-benzanthracene 2,3-benzphenanthrene | 73 | diethylphthalate | ethyl phthalate |
| 25 | Benzo-(a)-pyrene | 3,4-benzopyrene | 74 | 2,4-dimethylphenol | 2,4-zylenol |
| 27 | benzo(g,h,i)perylene | 1,12-benzoperylene | 77 | di-n-octyl phthalate | di(2-ethylhexyl)phthalate |
| 28 | benzo(k)fluoranthene | 11,12-benzofluoranthene | 78 | 4,6-dinitro-2-methylphenol | 4,6-dinitro-ortho-cresol |
| 32 | g-BHC (gamma) | Lindane | 82 | 1,2-diphenylhydrazine | hydrazobenzene |
| 33 | bis(2-chlorethyl)ether | 2,2'-dichlorethyl ether | 83 | endosulfan I | a-endosulfan-alpha |
| 34 | bis(2-chloroethoxy)methane | 2,2'-dichloroethoxy methane | 84 | endosulfan II | b-endosulfan-beta |
| 35 | bis(2-chloroisopropyl)ether | 2,2'dichloroisopropyl ether | 90 | fluorene | (alpha)-diphenylene methane |
| 36 | bis(chloromethyl)ether | (sym)dichloromethyl ether | 93 | hexachlorobenzene | perchlorobenzene |
| 37 | bis(2-ethylhexyl) phthalate | 2,2'-diethylhexyl phthalate | 95 | hexachlorocyclopentadiene | perchlorocyclopentadiene |
| 38 | bromodichloromethane | dichlorobromomethane | 96 | hexachloroethane | perchloroethane |
| 39 | bromoform | tribromomethane | 97 | indeno-(1,3,3-cd) pyrene | 2,3-ortho-phenylene pyrene |
| 40 | bromomethane | methyl bromide | 98 | isophorone | 3,5,5-trimethyl-2-cyclohexen-1-one |
| 43 | carbon tetrachloride | tetrachloromethane | 99 | methylene chloride | dichloromethane |
| 45 | 4-chloro-3-methylphenol | para-chloro-meta-cresol | 102 | 2-nitrophenol | para-nitrophenol |
| 47 | chloroethane | ethylchloride | 103 | 4-nitrophenol | ortho-nitrophenol |
| 49 | chloroform | trichloromethane | 104 | N-nitrosodimethylamine | dimethyl-nitrosoamine |
| 50 | chloromethane | methyl chloride | 105 | N-nitrosodi-n-propylamine | n-nitroso-di-n-propylamine |
| 52 | 2-chlorophenol | para-chlorophenol | 106 | N-nitrosodiphenylamine | diphenyl-nitrosoamine |
| 54 | chrysene | 1,2-benzphenanthrene | 107 | PCB-1018 | arochlor-1018 |
| 55 | 4,4'-DDD | dichlorodiphenyldichlorethane p,p’-tde tetrachlorodiphenylethane | 108 | PCB-1221 | arochlor-1221 |
| 56 | 4,4'-DDE | dichlorodiphenyldichloroethylene p,p’-ddx | 109 | PCB-1232 | arochlor-1232 |
| 57 | 4,4'-DDT | dichlorodiphenyltrichloroethane | 110 | PCB-1242 | arochlor-1242 |
| 58 | dibenzo(a,h)anthracene | 1,2,5,6-dibenzanthracene | 111 | PCB-1248 | arochlor-1248 |
| 59 | dibromochloromethane | Chlorodibromomethane | 112 | PCB-1254 | arochlor-1254 |
| 60 | 1,2-dichlorobenzene | ortho-dichlorobenzene | 113 | PCB-1260 | arochlor-1260 |
| 61 | 1,3-dichlorobenzene | meta-dichlorobenzene | 118 | 2,3,7,8-tetrachlorodibenzo-p-dioxin | tcdd |
| 62 | 1,4-dichlorobenzene | para-dichlorobenzene | 119 | 1,1,2,2-tetrachloroethane | acetylene tetrachloride |
| 64 | dichlorodifluoromethane | Difluorodichloromethane Fluorocarbon-12 | 120 | tetrachloroethene | perchloroethylene tetrachloroethylene |
| 65 | 1,1'dichloroethane | Ethylidene chloride | 121 | toluene | methylbenzene toluol |
| 66 | 1,2-dichloroethane | Ethylene chloride Ethylene dichloride | 124 | 1,1,1-trichloroethane | methyl chloroform |
| 67 | 1,1-dichloroethene | 1,1-dichloroethylene | 125 | 1,1,2-trichloroethane | vinyl trichloride |
| 68 | trans-1,2-dichloroethene | Acetylene dichloride | 126 | trichloroethane | trichloroethylene |
| 70 | 1,2-dichloropropane | Propylene dichloride | 127 | trichlorofluoromethane | fluorocarbon-11 fluorotrichloromethane |
| 71 | (cis & trans)1,3-dichloropropene | (cis & trans)1,3-dichloropropylene | 129 | vinyl chloride | chloroethene chloroethylene |